| 1.0 | ### OBJECTIVE : | To describe the procedure for the requirements of recalls and advisory notice for medical devices. |
| --- | --- | --- |
| 2.0 | ### SCOPE : | This procedure is applicable for recalls and advisory notice of all the products manufactured at Indiana Ophthalmics LLP. |
| 3.0 | ## RESPONSIBILITY : | QA Head / QA Executive |
| 4.0 | ACCOUNTABILITY : | QA Head |
| 5.0 | PROCEDURE : |  |
| 5.1 | This procedure is the primary document meeting the applicable regulatory requirements for recalls and advisory notices related to medical devices. |  |
| 5.2 | An action taken by a manufacturer to reduce a risk of death or serious deterioration in the state of health associated with the use of a medical device that is already placed on the market, such actions, whether associated with direct or indirect harm, should be reported and should be notified to the advisory body on immediate basis. |  |
| 5.3 | In such cases, physical removal of a device from its point of use for modification, adjustment, relabeling, destruction, or inspection shall be handled as per the recall procedure of SOP No. QAGE03. |  |
| 5.4 | A reasonable probability that use of, or exposure to, the product will cause serious adverse health consequences or death shall considered as risk to health. This shall be notified to advisory body. |  |
| 5.5 | If the use of, or exposure to, the product may cause temporary or medically reversible adverse health consequences, or an outcome where the probability of serious adverse health consequences is in remote, then it shall be considered as risk to health. In such cases, advisory notification shall be provided to advisory body. |  |
| 5.6 | Quality assurance department has the responsibility of maintaining this procedure and executing recalls and advisory notice. |  |
| 5.7 | Quality management and/or the complaint handling unit shall assign the responsibility for evaluation of the need for corrective actions in accordance with the CAPA procedures. |  |
| 5.8 | Whenever possible a cross-functional team that includes the following should be assembled to evaluate the need for corrective actions that may require a recall or advisory notice:- |  |
|  | - Quality Assurance - Quality Control - Production - Marketing - Store - Engineering |  |
| 5.9 | If a recall or advisory notice is warranted, the following parameters should be determined by the team:- - The extent and nature of health hazard and recall procedure - Proposed depth of recall - Type of notice to consignees (i.e., e-mail, letter, fax or telephone) - Content of notice to consignees and - Method for verifying effectiveness of a recall. |  |
| 5.10 | Mock recalls are recommended as a method of verifying effectiveness of quality system processes required to execute a recall - including adequacy of distribution records. Mock recalls are not needed to be reported to the regulatory agencies. |  |
| 5.11 | Internal auditing should include verification of compliance with national and international requirements in future for recalls and advisory notices during the review of the complaint handling process and the CAPA process to ensure that this procedure is being followed. |  |
| 5.12 | Care should be taken that Adulterated or misbranded product is not recalled. After identification of specific cause then only products that requires corrective action will corrected or removed. |  |
| 5.13 | If there is any significant change in the artwork of the packaging materials of the medical devices or change in the manufacturing procedure of the devices or change in the formulation of the devices, then it must be informed to the notified body. |  |
| 6.0 | ANNEXURES:- NA |  |
| 7.0 | REFERENCES:- |  |
| 7.1 | EN ISO 13485:2016 – Medical Devices - Quality Management Systems |  |
| 8.0 | REVISION HISTORY:- |  |
| Sr. No.; Revision No.; Date of Revision; SOP No.; Supersedes No.; Reason for Revision. 01; 28/12/2022; QAGE128-01; QAGE128-0; - Change in Firm Name from “Indiana Ophthalmics” to “Indiana Ophthalmics LLP”. - Addition of Scope, Annexures, References and Revision History as Section 2.0, 6.0, 7.0 and 8.0 respectively in the SOP.. |